## Slide 1
Electrical Services Design For A Library With Archival Environmental Control
Presented by :
Udhay Chowdhury
ID: 2002015
16 February, 2026
Department of Electrical and Electronic Engineering
Chittagong University of Engineering and Technology
Course Code: EEE 460
Course Name: Electrical Service Design Group: 12
Muhammad Salman Asif
ID: 2002031
Efaz M. Afnan Feroz
ID: 2002034

## Slide 2
Overview
Objectives
01
Codes and Standard Used
02
Drawing: Layout and Conduits
03
Single Line Diagrams
04
Earthing System Design
05
Load Calculation
06
Bill of Quantities
07
Total Cost
08
Conclusion
09
Question & Answers
10

## Slide 3
Objectives
Design a code-compliant LV distribution system for the Library and Archival Vault complex
Implement backup power strategy with ATS and UPS systems for critical loads
Provide comprehensive documentation including layouts, SLDs, load calculations, and BOQ

## Slide 4
Codes and Standards Used
BNBC 2020 (Bangladesh National Building Code) – Part 8: Building Services (Electrical).
BS 7671 (IET Wiring Regulations) – For cable sizing, circuit protection, and earthing requirements.
NFPA 72 (National Fire Alarm and Signaling Code) – For dedicated fire alarm circuit requirements.
IEEE 802.3af/at (Power over Ethernet Standards) – For IP Camera and Network Switch power delivery

## Slide 5
Drawings: Layouts and Conduits
Figure 01: Architectural Floor Plan with Dimensions

## Slide 6
Drawings: Layouts and Conduits
Figure 2: Fitting Layout: Placement of Lights, Fans, and Components.

## Slide 7
Drawings: Layouts and Conduits
Figure 3: Conduit Layout: Final Circuits (Switchboards to Lights/Fans).

## Slide 8
Drawings: Layouts and Conduits
Figure 4: Conduit Layout: SDB to Switchboard Connections.

## Slide 9
Drawings: Layouts and Conduits
Figure 5: Conduit Layout: Main Distribution Routes (MDB to SDBs).

## Slide 10
Drawings: Layouts and Conduits
Figure 6: Conduit Layout: UPS to CCTVs

## Slide 11
Single Line Diagram (SLDs)
Figure 7: Utility/Generator Intake, ATS, MDB, and Feeders

## Slide 12
Single Line Diagram (SLDs)
Figure 8: SLD: UPS 2 Distribution and CCTV Network (PoE).

## Slide 13
Single Line Diagram (SLDs)
Figure 9: Office Room Switchboard (SB7).

## Slide 14
Single Line Diagram (SLDs)
Figure 10: Archival Vault Distribution (SDB 2) & Critical Controls.

## Slide 15
Single Line Diagram (SLDs)
Figure 11: SDB 1 (Reception, Librarian Hub, Computer Room

## Slide 16
Single Line Diagram (SLDs)
Figure 12: SLD: SDB 3 Feeding Reading Room Switchboards.

## Slide 17
Single Line Diagram (SLDs)
Figure 13: Office Switchboard (SB7) Connection

## Slide 18
Lightning Risk Assessment (BNBC 2020)
Total Risk Index<40 .
Lightning Protection System is not mandatory .
A basic protection system is recommended as a safety precaution.

## Slide 19
Earthing System Design
Figure 14: (a) Copper Plate Earthing (b) Earthing Layout

## Slide 20
Load Calculation
Assumptions & Design Parameters:
Voltage: 220V single-phase, 50Hz Power Factor: 0.8
Diversity Factors: Lighting = 0.7, General Sockets = 0.8, Dedicated Sockets = 1.0
Wiring:
PVC conduit concealed wiring
Copper BYM (Phase/Neutral), BYA (Earth)
1.5 mm² for lighting/fans, 2.5 mm² for sockets
HDBC main earthing to MEB

## Slide 21
Load Calculation
Room Areas & Lighting Load Calculation
Room Areas & Fans Load Calculation

## Slide 22
Total Load Calculation
Overall Load Summary

## Slide 23
Circuit Breakers Ratings

## Slide 24
Bill of Quantity
Light Estimation
Description | Wattage | Quantity | Unit Price (Tk.) | Total Price (Tk)
Click Rocket LED Bulb (B22) | 35 | 37 | 740 | 27380
Walton Public Series A-30W (B22/E28) | 30 | 6 | 700 | 4200
Walton Public SeriesA-15W (B22) | 15 | 1 | 300 | 300
Walton Public SeriesA-9W (B22) | 9 | 4 | 230 | 920
Walton WLED-HP7WB22 | 7 | 6 | 300 | 1800
Total |  |  |  | 34600
Fan Estimation
Type | Description | Quantity | Unit Price (Tk.) | Total Price (Tk)
Ceiling Fan (F) | VISION Super Ceiling Fan Ivory 56" 80W | 20 | 3750 | 75000
Exhaust Fan | VISION Exhaust Fan 10" 40W | 4 | 1150 | 4600
Switch Socket

## Slide 25
Bill of Quantity
Conduit & Wiring Estimation
Distribution Boards & Protection

## Slide 26
Bill of Quantity
Critical Systems

## Slide 27
Total Electrical Estimated Cost

## Slide 28
Total Cost

## Slide 29
Thank You
February 2026
Presented by :
Udhay Chowdhury
ID: 2002015
Mohammad Salman Asif
ID: 2002031
Efaz M. Afnan Feroz
ID: 2002034

## Slide 30
Any Questions Or Suggestions?
February 2026
Presented by :
Udhay Chowdhury
ID: 2002015
Mohammad Salman Asif
ID: 2002031
Efaz M. Afnan Feroz
ID: 2002034